## Bid Schedule
Item(s) | Description | Unit | Quantity | Unit Price | Amount
1 | CONSTRUCTION SURVEYING AND LAYOUT | % | 0.33 | 52000 | 17160
2 | GPS DATA COLLECTION (ESRI - ARCGIS GEODATABASE FORMAT) | % | 0.33 | 5000 | 1650
3 | EROSION CONTROL (SWPPP PREPARATION, INSTALLATION, MAINTENANCE, AND REMOVAL) | % | 0.33 | 18370 | 6062.1
4 | MOBILIZATION/DEMOBILIZATION | % | 0.33 | 224100 | 73953
5 | CLEARING AND GRUBBING | % | 0.33 | 14000 | 4620
6 | TRIM TREES | LF | 360 | 13 | 4680
7 | EARTHWORK FOR RETENTION BASINS | CY | 0 | 24 | 0
8 | RIPRAP, D50=6 IN, T=12 IN | CY | 11 | 74 | 814
9 | SUBGRADE PREPARATION | SY | 3799.3333 | 37 | 140575.3333
10 | AGGREGATE BASE, 12 IN THICK | SY | 3597 | 19 | 68343
11 | AGGREGATE BASE, 9 IN THICK | SY | 140 | 20 | 2800
12 | AGGREGATE BASE, 6 IN THICK | SY | 0 | 36 | 0
13 | AGGREGATE BASE, 4 IN THICK | SY | 0 | 23 | 0
14 | LIME STABILIZATION | SY | 2671 | 8 | 21368
15 | ASPHALTIC CONCRETE PAVEMENT (2 IN SURFACE COURSE, A-12.5 EVAC) | SY | 3596.7778 | 20 | 71935.5556
16 | ASPHALTIC CONCRETE PAVEMENT (3 IN SURFACE COURSE, A-12.5 EVAC) | SY | 140 | 66 | 9240
17 | ASPHALTIC CONCRETE PAVEMENT (3 IN BASE COURSE, A-19 EVAC) | SY | 3597 | 33 | 118701
18 | PORTLAND CEMENT CONCRETE PAVEMENT (PCCP), 9 IN THICK | SY | 62 | 112 | 6944
19 | BITUMINOUS TACK COAT SS-1H, DILUTED | SY | 3597 | 1 | 3597
20 | ASPHALT PAVEMENT EDGE, MAG DET 201, TYPE 'B' | LF | 35 | 27 | 945
21 | VERTICAL CURB & GUTTER, TYPE A, H=6 IN, MAG DET 220-1 | LF | 1663 | 28 | 46564
22 | SINGLE CURB, TYPE A, MAG DET 222 | LF | 376 | 29 | 10904
23 | CONCRETE SIDEWALK, MAG DET 230 | SF | 6344 | 7 | 44408
24 | CONCRETE CURB RAMP WITH DETECTABLE WARINING, COC DET C-257 (MODIFIED) | SF | 202 | 38 | 7676
25 | CONCRETE CURB RAMP WITH DETECTABLE WARNING, COC DET C-258 (MODIFIED) | SF | 79 | 31 | 2449
26 | DRIVEWAY ENTRANCE, MAG DET 250-2, COMMERCIAL / INDUSTRIAL | SF | 0 | 17 | 0
27 | CONCRETE APRON AND VALLEY GUTTER, MAG DET 240 | SF | 471 | 26 | 12246
28 | ADJUST MANHOLE FRAME & COVER, MAG DET 422 AND COC DET C-401 | EA | 1 | 580 | 580
29 | ADJUST VALVE BOX & COVER, MAG DET 391-1 AND COC DET C-307 | EA | 0 | 550 | 0
30 | ADJUST VALVE BOX & COVER, MAG DET 391 AND COC DET C-406 | EA | 2 | 550 | 1100
31 | REMOVE ASPHALTIC CONCRETE PAVEMENT | SY | 730 | 14 | 10220
32 | REMOVE PORTLAND CEMENT CONCRETE PAVEMENT | SY | 71 | 45 | 3195
33 | REMOVE CONCRETE CURB AND GUTTER | LF | 347 | 8 | 2776
34 | REMOVE CONCRETE RIBBON CURB | LF | 42 | 7 | 294
35 | REMOVE CONCRETE VALLEY GUTTER AND APRON | SF | 223 | 4 | 892
36 | REMOVE CONCRETE SIDEWALK AND CONCRETE SLABS | SF | 244 | 3 | 732
37 | REMOVE CONCRETE PAVERS | SF | 207 | 4 | 828
38 | REMOVE CONCRETE SCUPPER | SF | 95 | 12 | 1140
39 | REMOVE CONCRETE SPILLWAY | SF | 406 | 4 | 1624
40 | REMOVE CONCRETE DITCH, BACKFILL AND COMPACT | LF | 369 | 27 | 9963
41 | REMOVE CONCRETE DITCH, BACKFILL AND COMPACT (SRP) | LF | 0 | 21 | 0
42 | REMOVE IRRIGATION STRUCTURE AND GATES (SRP) | EA | 0 | 1274 | 0
43 | REMOVE CONCRETE HEADWALL (SRP) | EA | 0 | 1275 | 0
44 | REMOVE 36 IN RGRCP IRRIGATION PIPE, BACKFILL AND COMPACT (SRP) | LF | 0 | 354 | 0
45 | REMOVE PIPE (12 IN TO 36 IN), BACKFILL AND COMPACT | LF | 193 | 22 | 4246
46 | REMOVE FENCE | LF | 0 | 8 | 0
47 | REMOVE GATE | EA | 0 | 244 | 0
48 | REMOVE CONCRETE BLOCK MASONRY WALL | SF | 2003 | 8 | 16024
49 | REMOVE BARRICADE AND SIGNS | EA | 0 | 97 | 0
50 | REMOVE EXISTING BOXES, BLOWOFF ASSEMBLY, BALL VALVES, FITTINGS & PIPING | EA | 0 | 1977 | 0
51 | REMOVE 8 IN DIP, FLUSHING PIPE ASSEMBLY AND FITTINGS | LF | 0 | 12 | 0
52 | TRAFFIC CONTROL | LS | 1 |  | 0
53 | BARRICADE, TYPE A, MAG DET 130 | LF | 18 | 115 | 2070
54 | SURVEY MARKER, TYPE A, MAG DET 120 | EA | 0 | 146 | 0
55 | SURVEY MARKER, TYPE B, MAG DET 120 | EA | 2 | 182 | 364
56 | PIPE RAIL FENCE (MATCH EXISTING) | LF | 0 | 61 | 0
57 | LANDSCAPE ESTABLISHMENT PERIOD | LS | 1 |  | 0
58 | SHRUB - 5 GAL | EA | 199 | 22 | 4378
59 | TREE - 48 IN BOX, 2.75 - 4.00 IN CAL MIN | EA | 28 | 2307 | 64596
60 | DECOMPOSED GRANITE (TO MATCH EXISTING) | SY | 525 | 9 | 4725
61 | DECOMPOSED GRANITE, 1 1/4 IN SCREENED, DESERT GOLD | SY | 1527 | 7 | 10689
62 | LANDSCAPE AND IRRIGATION RESTORATION | SY | 76 | 10 | 760
63 | 1 IN ELECTRICAL CONDUIT SLEEVE (SCH. 40 PVC) | LF | 50 | 17 | 850
64 | 3 IN IRRIGATION PIPE SLEEVE (SCH. 40 PVC) | LF | 18 | 26 | 468
65 | 6 IN IRRIGATION PIPE SLEEVE (SCH. 40 PVC) | LF | 50 | 28 | 1400
66 | CLASS 200 PVC IRRIGATION PIPE, 3/4 IN | LF | 2665 | 4 | 10660
67 | SCH. 40 PVC IRRIGATION PIPE, 1-1/2 IN | LF | 817 | 7 | 5719
68 | 1-1/2 IN PVC BALL VALVE ASSEMBLY | EA | 1 | 425 | 425
69 | 3/4 IN FLUSH VALVE ASSEMBLY (DRIP) | EA | 6 | 82 | 492
70 | 1 IN REMOTE CONTROL VALVE, ELECTRIC | EA | 4 | 931 | 3724
71 | MULTI OUTLET EMITTER ASSEMBLY | EA | 28 | 37 | 1036
72 | SINGLE OUTLET EMITTER ASSEMBLY | EA | 199 | 25 | 4975
73 | PERFORATED SIGN POST | LF | 0 | 41 | 0
74 | PERFORATED SIGN POST FOUNDATION | EA | 0 | 128 | 0
75 | SIGN PANEL WITH TYPE VIII/IX/X SHEET | SF | 0 | 43 | 0
76 | NO. 7 PULL BOX W/ EXTENSION | EA | 1 | 4402 | 4402
77 | NO. 9 PULL BOX VAULT | EA | 0 | 15043 | 0
78 | SRP LIGHTING PULL BOX (CONTRACTOR SUPPLIED AND INSTALLED) | EA | 3 | 1228 | 3684
79 | SCH. 40 PVC ELECTRICAL CONDUIT, 2-1/2 IN (STREET LIGHTING PER SRP PLANS) | LF | 420 | 22 | 9240
80 | 4 - 2 IN PVC INTERCONNECT CONDUIT | LF | 0 | 36 | 0
81 | STREET LIGHT POLE FOUNDATION FOR SL-1 POLE | EA | 3 | 2477 | 7431
82 | STREET LIGHT POLE, 28.5 FT SL-1 WITH SINGLE DAVIT ARM | EA | 3 | 3706 | 11118
83 | LED STREET LIGHT LUMINAIRE, TYPE II | EA | 3 | 1004 | 3012
84 | RELOCATE STREET LIGHT POLE AND ELECTRICAL (CUSD) | EA | 1 | 627 | 627
85 | STREET LIGHT POLE FOUNDATION (CUSD) | EA | 1 | 2477 | 2477
86 | CONDUCTORS FOR STREET LIGHTING | LS | 0.2 |  | 0
87 | CONCRETE SCUPPER, COC DET C-500, W=4 FT | EA | 1 | 7379 | 7379
88 | CONCRETE SCUPPER, COC DET C-500, W=8.5 FT | EA | 1 | 9015 | 9015
89 | CONCRETE SCUPPER, COC DET C-500, W=17.5 FT | EA | 0 | 15680 | 0
90 | CONCRETE SPILLWAY, COC DET C-500, W=4 FT | LF | 22 | 288 | 6336
91 | CONCRETE SPILLWAY, COC DET C-500, W=8.5 FT | LF | 18 | 182 | 3276
92 | CONCRETE SPILLWAY, COC DET C-500, W=17.5 FT | LF | 0 | 449 | 0
93 | RETENTION BASIN INLET, SINGLE BUBBLER BOX, COC DET C-507 | EA | 2 | 19451 | 38902
94 | DRYWELL, COC DET C-501 | EA | 1 | 54910 | 54910
95 | CATCH BASIN, MAG DET 533-1, TYPE D | EA | 2 | 11940 | 23880
96 | CATCH BASIN, MAG DET 533-1, TYPE D, ONE 10 FT WING | EA | 1 | 21240 | 21240
97 | CATCH BASIN, MAG DET 533-1, TYPE D, TWO 10 FT WINGS | EA | 1 | 26650 | 26650
98 | SRP CONCRETE LINED DITCH | LF | 0 | 486 | 0
99 | SRP FOUR SIDED MANHOLE | EA | 0 | 18140 | 0
100 | SRP FIVE SIDED MANHOLE | EA | 0 | 19550 | 0
101 | SRP HEADWALL WITH TRASH RACK | EA | 0 | 14000 | 0
102 | SRP CONCRETE PIPE COLLAR | EA | 0 | 1779 | 0
103 | DRAINAGE STRUCTURE (PIPE PENETRATION) | EA | 1 | 1065 | 1065
104 | CONCRETE MASONRY BLOCK WALL | SF | 2201 | 36 | 79236
105 | REMOVE AND RECONSTRUCT EXISTING BLOCK WALL | SF | 240 | 36 | 8640
106 | HEADWALL WITH TRASH RACK, MAG DET 502-1 (IRRIGATION) | EA | 1 | 16407 | 16407
107 | 6 IN DUCTILE IRON PIPE WATERLINE WITH FITTINGS | LF | 99 | 84 | 8316
108 | 12 IN DUCTILE IRON PIPE WATERLINE WITH FITTINGS | LF | 1448 | 116 | 167968
109 | 12 IN DUCTILE IRON PIPE RECLAIMED WATERLINE WITH FITTINGS | LF | 0 | 132 | 0
110 | INSTALL FIRE HYDRANT, TYPE A, COC DET C-303 | EA | 3 | 3862 | 11586
111 | DUCTILE IRON TEE FITTING | EA | 4.5 | 1324 | 5958
112 | RESTRAINED PIPE CAP & FLUSHING PIPE PER COC DET C-300 | EA | 1 | 1374 | 1374
113 | 6 IN GATE VALVE WITH BOX & COVER | EA | 3 | 1635 | 4905
114 | 12 IN GATE VALVE WITH BOX & COVER | EA | 5 | 4233 | 21165
115 | 18 IN RGRCP, CLASS III | LF | 73 | 117 | 8541
116 | 24 IN RGRCP, CLASS III | LF | 71 | 148 | 10508
117 | 24 IN RGRCP, CLASS V | LF | 439 | 112 | 49168
118 | 36 IN RGRCP, CLASS III (SRP) | LF | 0 | 313 | 0
119 | 36 IN RGRCP, CLASS V (SRP) | LF | 0 | 485 | 0
120 | 12 IN STORM DRAIN PIPE | LF | 50 | 106 | 5300
121 | 24 IN HDPE STORM DRAIN PIPE | LF | 166 | 123 | 20418
122 | CONCRETE PIPE COLLAR, MAG DET 505 | EA | 2 | 1643 | 3286
123 | STORM DRAIN MANHOLE, MAG DET 520 AND 522 | EA | 1 | 8135 | 8135
124 | 24 IN STEEL CASING, OPEN TRENCH | LF | 0 | 8952 | 0
125 | OWNER'S ALLOWANCE: CITY OF CHANDLER IMPROVEMENTS | AL | 0 | 0 | 0
126 | OWNER'S ALLOWANCE: CHANDLER UNIFIED SCHOOL DISTRICT IMPROVEMENTS | AL | 1 | 100000 | 100000
127 | ALLOWANCE: SRP AND PRIVATE IRRIGATION | AL | 0 | 0 | 0
128 | ALLOWANCE: SRP ELECTRICAL | AL | 0 | 0 | 0
129 | ALLOWANCE: WATERLINE | AL | 0 | 0 | 0
130 | ALLOWANCE: RECLAIMED WATERLINE | AL | 0 | 0 | 0
131 | ALLOWANCE: OVER-EXCAVATION | AL | 0 | 0 | 0
TOTAL
1614134.9889